## Slide 1: Update on BAWSCA’s Long-Term Reliable Water Supply Strategy
Adrianne Carr
Senior Water Resources Specialist
Bay Area Water Supply and Conservation Agency
November 16, 2016
“A multicounty agency authorized to plan for and acquire supplemental water supplies, encourage water conservation and use of recycled water on a regional basis.”
[Bay Area Water Supply and Conservation Agency Act, AB2058(Papan-2002)]

## Slide 2: BAWSCA’s Strategy
In 2009, BAWSCA embarked on the Long-Term Reliable Water Supply Strategy to:
  Determine the Water Supply Problem
    When, where, and how much additional water is needed in normal years and dry years.
  Develop Solutions
    Identify specific water supply management projects for implementation.
Notes: BAWSCA’s Long-Term Reliable Water Supply Strategy is designed to
Quantity the water needs for this regional area
- Plan for and implement water projects to meet those needs

## Slide 3: 10% Less Water Used Today in Service Area Despite 25% More People
Source: BAWSCA FY 2013-14 Annual Survey
2013-14: 224 mgd
2014-15: 195 mgd
2015-16 will be lower

## Slide 4: Demand Study Confirmed Need to Focus on Drought
Other
Sources
Anticipated
SFPUC Purchases
168 mgd
117 mgd
2040 Supply Sources, Drought Year
(20% System-wide Shortage)
124 mgd
117 mgd
43
mgd
2040 Supply Sources, Normal Year
Reliability Shortfall

## Slide 5: How Frequent are Droughts Anticipated on the SF RWS?
System subject to cutbacks 1 in 11 years (assuming 2040 demands)
  Using historical record
Analysis informs decision-making
  How often will supplemental supplies be needed?
  Effective cost of a supply increases if only used during drought
Notes: Based on SFPUC’s model for their system, shortages are estimated to occur on average 1 in every 10 years at the future demand level
SFPUC has two levels of demand reductions……
What does this mean for the region as a whole and the indivdiual agencies?

## Slide 6: Strategy Included a Comprehensive Review of Supply Projects
Phase I – identified 65+ projects with potential regional benefits
Phase IIA – refined list of projects to 17, identified near-term opportunities
Phase II Final – presented refined project list of 10
  Analysis of projects against multiple objectives
  Note: Agencies may have other supply projects, but did not want to include them in the Strategy

## Slide 7: Five Project Types that Provide Regional Benefits Were Identified
Recycled water
Groundwater
Desalination
Water transfers
Local capture and reuse
Notes: New and other supply types also being tracked going forward (e.g. Indirect/Direct Potable Recycling)
Different projects warrant consideration of different types of near-term actions
  Core actions
  Implementation actions
Regional benefits
Local agency support

## Slide 8: Diverse Set of Objectives Used to Evaluate Potential Projects
Objectives
Increase Supply Reliability
Provide High Level of Water Quality
Minimize Cost of New Supplies
Reduce Potable Demand
Minimize Environmental Impacts of New Supplies
Increase Implementation Potential of New Supplies
Notes: Regional benefits
Local agency support
Criterion 3A –Criterion 3B – Effective Cost

## Slide 9: Strategy Presented Key Findings and Recommended Actions
Key Finding
Water transfer are a high priority
Desalination needs a partner to be viable
“Other Projects” like recycling, groundwater, etc. have limited dry year benefits
Recommended Action
Continue to lead development of transfers for implementation Identify and evaluate water storage options
Facilitate partnerships to implement Pursue outside funding for further studies
Support member agency projects Participate in cooperative regional planning
Notes: Feb 2015 Strategy Phase II Final Report

## Slide 10: Implementation of Strategy is Under Way
Strategy recommended pursuing more research on many of the projects
  No major investments required to continue planning
Lower demands mean that decisions to invest in new supplies can be made more deliberately
Water supply project implementation is a long process
Notes: Included priorities and recommended actions

## Slide 11: Historic Drought has Increase Public Interest in Water
Public interest in water during drought is useful
  Conservation programs being utilized
  Potable reuse (purified water) entered the discussion
  Increased focus on local capture and reuse projects
    Data on these types of projects was limited when completing the Strategy Report
    BAWSCA participates actively in the on-site water reuse discussion in the region
Historic drought has forged new relationships
  Isreal-CA Greentech Partnership
  Lessons learned from Australia

## Slide 12: Purified Water Projects Gaining Traction
BAWSCA Strategy noted potential of potable reuse, but projects not far enough along to enable detailed analysis
Multiple water and wastewater agencies taking steps to develop potable recycled water supplies
Factors driving progress include:
  Drought
  Additional regulatory requirements on wastewater treatment plants
  Change in public perception
  Development of regulations governing potable reuse
BAWSCA partnering with other agencies to study preliminary feasibility of different purified water projects

## Slide 13: Drought Response Analysis will Inform Strategy Implementation
BAWSCA proposing analysis to evaluate:
  What drove the demand reductions
  Projected demand and supply need
  Responsiveness and appropriateness of existing shortage provisions
  Drought preparedness of member agencies and other regional suppliers
  Qualitatively identify local economic impacts
Host regional workshop on financial impacts of drought
Notes: This task would perform a complete review of customer response in the service area including: review water demand response to voluntary and mandatory cutbacks, review responsiveness and appropriateness of existing shortage provisions, review member agencies’ and other regional suppliers’ (e.g., SCVWD) drought preparedness and its impacts on the member agencies, host regional workshop to facilitate discussion of water utlitity financial best management practices to identify potential actions that can assist agencies in addressing the financial impacts of drought, and conduct a workshop with member agencies to identify local economic impacts. BAWSCA will use the results of this work to update as appropriate the projected 2040 water demand and supply need for the region.

## Slide 14: BAWSCA’s Strategy: Where are We and What’s Next?
Current Strategy activities in work plan
  Purified water feasibility studies
    Signed MOU with Silicon Valley Clean Water, SFPUC, Cal Water
    Potential partnerships with SCVWD and ACWD
  Plan for potential water transfer via Hayward during extended 2018 Hetch Hetchy shutdown
  BAWSCA participating in Enlarged Los Vaqueros studies with SFPUC
  Groundwater Reliability Partnership for the San Mateo Plain
  Post-drought demand response analysis
Modifications to BAWSCA’s drought allocation plans must be examined for potential adoption
Notes: Other items in work plan:
Modeling
Structured decision making

## Slide 15
Strategy recommended actions being implemented today
Regular reports provided to BAWSCA Board of Directors
BAWSCA’s goal remains “A reliable supply of high quality water at a fair price”
Implementation of Strategy necessary to achieve goal

## Slide 16
Adrianne Carr
ACarr@BAWSCA.org
650-349-3000
Questions
and
Comments

## Slide 17: Precipitation

## Slide 18: Upcountry 6-station Precipitation index as of October 30th
Annual Total: 35.6 inches
YTD Total: 6.5 inches

## Slide 19: Bay Area 7-station Precipitation Index as of October 30th
Annual Total: 26.9 inches
YTD Total: 4.6 inches

## Slide 20: Total Deliveries