## Slide 1: Update on Water Supply Conditions and BAWSCA’s Strategy
Adrianne Carr
Senior Water Resources Specialist
Bay Area Water Supply and Conservation Agency
April 20, 2016
“A multicounty agency authorized to plan for and acquire supplemental water supplies, encourage water conservation and use of recycled water on a regional basis.”
[Bay Area Water Supply and Conservation Agency Act, AB2058(Papan-2002)]

## Slide 2: Precipitation

## Slide 3: Snowpack

## Slide 4: Total Deliveries

## Slide 5: Agencies Achieved 26.5% Cumulative Savings June 2015 through Feb. 2016
Chart: 
| Alameda CWD | Burlingame | CWS - Bear Gulch | CWS - Mid Peninsula | CWS - SSF | Coastside CWD | Daly City | East Palo Alto | Estero MID | Hayward | Hillsborough | Menlo Park | Mid-Peninsula WD | Millbrae | Milpitas | Mountain View | NCCWD | Palo Alto | Redwood City | San Bruno | San Jose | Santa Clara | Sunnyvale | Westborough WD
Conservation Standard | 0.16 | 0.16 | 0.36 | 0.16 | 0.08 | 0.08 | 0.08 | 0.08 | 0.12 | 0.08 | 0.36 | 0.16 | 0.2 | 0.16 | 0.12 | 0.16 | 0.08 | 0.24 | 0.08 | 0.08 | 0.2 | 0.16 | 0.16 | 0.08
% Reduction (Cumulative from June 2015) | 0.27684 | 0.29106 | 0.34725 | 0.25784 | 0.20411 | 0.20706 | 0.12219 | 0.24078 | 0.14625 | 0.22654 | 0.41986 | 0.41637 | 0.26739 | 0.23408 | 0.23274 | 0.31351 | 0.2425 | 0.31184 | 0.23832 | 0.24265 | 0.28322 | 0.21832 | 0.28136 | 0.25944
Overall BAWSCA % Reduction | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548 | 0.26548
BAWSCA Overall Conservation Standard | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
26.5% Cumulative Savings from 2013

## Slide 6: Agencies Achieved 81% of Cumulative Savings Required Jun 2015-Oct 2016
Chart: 
| Water Savings Target (Jun 2015 - Oct-2016) | Water Savings Achieved through Feb-16
Water Savings | 20824350338.44 | 16927010309
Savings Achieved (8 months):
16.93 billion gallons
17-month Savings Target:
20.98 billion gallons

## Slide 7: BAWSCA’s Strategy
In 2009, BAWSCA embarked on the Long-Term Reliable Water Supply Strategy to:
  Determine the Water Supply Problem
    When, where, and how much additional water is needed in normal years and dry years.
  Develop Solutions
    Identify specific water supply management projects for implementation.
Notes: BAWSCA’s Long-Term Reliable Water Supply Strategy is designed to
Quantity the water needs for this regional area
- Plan for and implement water projects to meet those needs

## Slide 8: 10% Less Water Used Today in Service Area Despite 25% More People
Source: BAWSCA FY 2013-14 Annual Survey
2013-14: 224 mgd
2014-15: 195 mgd
2015-16 will be lower

## Slide 9: Demand Study Confirmed Need to Focus on Drought
Other
Sources
Anticipated
SFPUC Purchases
168 mgd
117 mgd
2040 Supply Sources, Drought Year
(20% System-wide Shortage)
124 mgd
117 mgd
43
mgd
2040 Supply Sources, Normal Year
Reliability Shortfall

## Slide 10: How Frequent are Droughts Anticipated on the SF RWS?
System subject to cutbacks 1 in 11 years (assuming 2040 demands)
  Using historical record
Analysis informs decision-making
  How often will supplemental supplies be needed?
  Effective cost of a supply increases if only used during drought
Notes: Based on SFPUC’s model for their system, shortages are estimated to occur on average 1 in every 10 years at the future demand level
SFPUC has two levels of demand reductions……
What does this mean for the region as a whole and the indivdiual agencies?

## Slide 11: Strategy Included a Comprehensive Review of Supply Projects
Phase I – identified 65+ projects with potential regional benefits
Phase IIA – refined list of projects to 17, identified near-term opportunities
Phase II Final – presented refined project list of 10
  Analysis of projects against multiple objectives
  Note: Agencies may have other supply projects, but did not want to include them in the Strategy

## Slide 12: Five Project Types that Provide Regional Benefits Were Identified
Recycled water
Groundwater
Desalination
Water transfers
Local capture and reuse
Notes: New and other supply types also being tracked going forward (e.g. Indirect/Direct Potable Recycling)
Different projects warrant consideration of different types of near-term actions
  Core actions
  Implementation actions
Regional benefits
Local agency support

## Slide 13: Diverse Set of Objectives Used to Evaluate Potential Projects
Objectives
Increase Supply Reliability
Provide High Level of Water Quality
Minimize Cost of New Supplies
Reduce Potable Demand
Minimize Environmental Impacts of New Supplies
Increase Implementation Potential of New Supplies
Notes: Regional benefits
Local agency support
Criterion 3A –Criterion 3B – Effective Cost

## Slide 14: Summary of Strategy Project Evaluation & Rankings
Project Type | Dry Year Yield | Effective Cost | Local Control | Time to Implement | Environ-mental
1. Recycled Water Projects |  |  |  |  | 
2. Groundwater Project (Sunnyvale) |  |  |  |  | 
3. Water Transfers |  |  |  |  | 
4a. Desal - Open Bay |  |  |  |  | 
4b. Desal - Brackish Well |  |  |  |  | 
5. Local Capture and Reuse |  |  |  |  | 
Performance on selected criteria:
Scores high
Scores in the middle
Scores low
Notes: The intent tonight is not to

## Slide 15: Implementation of Strategy is Under Way
Strategy recommended pursuing more research on many of the projects
  No major investments required to continue planning
Lower demands mean that decisions to invest in new supplies can be made more deliberately
Water supply project implementation is a long process
Notes: Included priorities and recommended actions

## Slide 16: Historic Drought has Increase Public Interest in Water
Public interest in water during drought is useful
  Conservation programs being utilized
  Potable reuse entered the discussion
  Increased focus on local capture and reuse projects
    Data on these types of projects was limited when completing the Strategy Report
    BAWSCA participates actively in the on-site water reuse discussion in the region
Historic drought has forged new relationships
  Isreal-CA Greentech Partnership
  Lessons learned from Australia

## Slide 17: Potable Reuse Projects Gaining Traction
BAWSCA Strategy noted potential of potable reuse, but projects not far enough along to enable detailed analysis
Multiple water and wastewater agencies taking steps to develop potable recycled water supplies
Factors driving progress include:
  Drought
  Additional regulatory requirements on wastewater treatment plants
  Change in public perception
  Development of regulations governing potable reuse

## Slide 18: Drought Response Analysis will Inform Strategy Implementation
BAWSCA proposing analysis to evaluate:
  What drove the demand reductions
  Projected demand and supply need
  Responsiveness and appropriateness of existing shortage provisions
  Drought preparedness of member agencies and other regional suppliers
  Qualitatively identify local economic impacts
Host regional workshop on financial impacts of drought
Notes: This task would perform a complete review of customer response in the service area including: review water demand response to voluntary and mandatory cutbacks, review responsiveness and appropriateness of existing shortage provisions, review member agencies’ and other regional suppliers’ (e.g., SCVWD) drought preparedness and its impacts on the member agencies, host regional workshop to facilitate discussion of water utlitity financial best management practices to identify potential actions that can assist agencies in addressing the financial impacts of drought, and conduct a workshop with member agencies to identify local economic impacts. BAWSCA will use the results of this work to update as appropriate the projected 2040 water demand and supply need for the region.

## Slide 19
Strategy recommended actions being implemented today
Regular reports provided to BAWSCA Board of Directors
BAWSCA’s goal remains “A reliable supply of high quality water at a fair price”
Implementation of Strategy necessary to achieve goal

## Slide 20
Adrianne Carr
ACarr@BAWSCA.org
650-349-3000
Questions
and
Comments